## Slide 1: 7th AGATA Week Uppsala, 8-11 July 2008
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
Recent DAQ integration test at L.N.L.
05-09 May 2008
S. Brambilla
I.N.F.N. Sezione di Milano

## Slide 2
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
Test Goals:
VME test bench from I.N.F.N. Milano has been used
check the AGAVA CBLT functionalities at realistic trigger rates
probe the compatibility of the AGAVA production release with the new
version of the GTS (GTS release 2), based on the Virtex 4 FPGA
STRUCK SIS1100/SIS3100 PCI/cPCI to VME interface
AGAVA board release 1 and 2, GTS release 1 and 2
CAEN V775 32 channel TDC
CAEN V785 32 channel ADC
CAEN V538A 8 channel NIM-ECL/ECL-NIM Translator
CBLT sequence: Agava, TDC, ADC
NIM Repetitive pulser at 20KHz

## Slide 3
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
Software environment:
Kmax dedicated application was used to control the VME modules.
STRUCK board is equipped with DSP, memory and NIM and ECL I/O
- Readout has been performed by the DSP (SHARC ADSP-21062L)
Events stored and presorted in circular buffers (800 events x buffer)
- Buffers readout and online sorting by kmax software
DSP Acquisition logic:
wait local trigger (Struck Lemo1 input)
wait validation (Struck Lemo2 input)
wait AGAVA, TDC and ADC data ready (single vme access)
CBLT or standard readout of AGAVA, TDC and ADC modules
Integrity check of the event (header, data and trailers)
Check event counter alignment for TDC and ADC
Buffer handling

## Slide 4
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008

## Slide 5
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008

## Slide 6
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
Test summary:
Acquisition rate ≈ 10KHz both in single and in CBLT access
System stability: 8 hours test without any problem (repetitive)
All the ≈ 300 Ml. of events were good and well formatted
VME standard compatibility tests and functionality of the AGAVA_2
module with the GTS_2 has been proved
Information concerning event trigger and event validation were passed
correctly between the AGAVA_2, GTS_2 and external LEMO connector
Consistency of Local Trigger Tag / Validation Tag has been verified
(new GTS firmware was giving only validation)

## Slide 7
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
Front End based on CAEN modules:
V775: 32 channels TDC
V879: 32 channels TDC
V785: 32 channels ADC
V878: 32 channels ADC
V792: 32 channels QDC
V812: 16 channels CFD
V560: 16 channels scaler
Readout :
VME CPU
Optical link PCI to VME interface
PCI to VME interface:
CAEN V2718
STRUCK SIS1100/SIS3100
L.N.L. LINCO CMS board
Hardware:

## Slide 8
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
Tests with CAEN V2718 PCI to VME controller have been planned
Next tests:
Use of a dedicated PCI I/O board
  - Local trigger, validation-reject trigger ..
  - data ready, reset, fast clear ...
Extended tests with high rate random pulser or detectors, both with STRUCK
SIS1100/SIS3100 and CAEN V2718 pci-to-VME interface

## Slide 9
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
Thank you !

## Slide 10
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008

## Slide 11: Test with the Struck SIS1100/SIS3100 PCI to VME interface (optical link)
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
PC SetUp:
  Pentium 4 PC, 3.00 GHz, 1Mb RAM, SIS1100 pci board
  XP environment and Kmax software
VME SetUp:
  SIS3100 with DSP (ADSP21061L), 512MB memory, NIM-ECL Interface
  One 32 channel VME TDC (V879)
  One 32 channel VME ADC (V878)
Local latency 1s for local trigger and GTS latency 6 s for Trigger_Validation and Trigger_Reject from AGAVA board have been simulated using NIM EG&G GG800
Trigger_Request, Trigger_Validation and Trigger_Reject have been carried to the SIS3100 NIM inputs

## Slide 12
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008
DSP is controlled by Kmax using common shared memory
DSP receives triggers and organise data into memory in 4 buffers of 32000 longwords
Local events are composed of 12 longwords (8 data plus headers and trailers)
Buffers are read by Kmax as single memory blocks
Trigger_Reject has been done by 2 single broadcast DSP VME cycle
Test done both in single accesses and in CBLT mode

## Slide 13
S. Brambilla, “Recent DAQ integration test at L.N.L. 05-09 May 2008”
7th AGATA Week, Uppsala, 8-11 July 2008