## Slide 1: Simple Test Experiments for PSA Calibration
Checklist
Doppler corrected spectra with (d,p)
Influence of t0 on PSA with time aligned data
A not ancillary

## Slide 2: Checklist
principle functionality of DAQ
cabling and energy resolution
detector parameters (Tau, gain, offset...)
segment ordering in DAQ and analysis
precise detector positions
Doppler correction on segment level -> PSA
orientation of Crystals (and axis)
PSA and 3D distributions
Doppler correction on PSA level
Doppler correction on PSA level at second distance
check t0 algorithm
..........................

## Slide 3: KISS Strategy (Keep It Small and Simple)
tests using sources
first try the least effort experiment
high precision experiment
principle functionality of DAQ
cabling and resolution
detector parameters (Tau, gain, offset...)
PSA 3D distributions
segment ordering in DAQ and analysis
orientation of Crystals
precise detector positions
Doppler correction on segment level
Doppler correction on PSA level
Doppler correction on PSA level at second distance (z-contribution)
Doppler correction on PSA level particle and t0 corrected



 
 


 
 
 
 

## Slide 4: Least Effort Experiment
Use a Tandem beam (better focus, less setup time, dc)
Use only AGATA DAQ - no other readout systems
Use large cross sections
Use largest effect on interaction position
Doppler correction around 90o (no Prisma?)
is (d,p) an
option?

## Slide 5: Cologne Test Experiment (Francesco Recchia)
small disadvantages:
Q = 9.4MeV (larger scattering, p not stopped)
E ~ 2 MeV/A (Legnaro?)
E < 1.8 MeV
Complicated particle CD detector (ancillary)
positions vs angles

## Slide 6: d(22Ne, 23Ne)p Gamma Spectra
2.85 MeV/A beam, CD2 target 1 mg
statistics of 1 hour @ 500Hz/crystal
24 crystals
nice S/B in raw data
energies up to 4 MeV
less E in the target
-energy[keV]
-energy[keV]
-energy[keV]
raw data
online DC without
particle angles
only seg. position
limits?

## Slide 7
relative difference
should provide a
good idea on PSA
resolution
~ 4mm
t1/2=180ps

## Slide 8: Test using a Tandem Beam
E[MeV] range(p)[mg] range(d)[mg]
3.000 21.3 14.1
5.000 50.2 31.6
7.000 89.3 55.0
9.000 138. 83.9
11.00 197. 118.
13.00 264. 157.
eslastic deuterons

## Slide 9: d(22Ne, 23Ne)p Particle Spectra

## Slide 10: The not Ancillary
simple setup
2-4 channels AGATA digitizer
provides t0
measure angles not positions
Digitizer
absorber
0.2mm Al
65o
45o
15o
0.5mg (=1.7keV)
CD2 target
0.5mm
S1 det

## Slide 11: High Precision Experiments
Francesco
Recchia
(PhD 2008)
light projectile
less energy loss
more 
larger - energy
d=140mm, 235mm
lifetime smearing
....
? distance