## Slide 1
-tracking uses segmented detectors which are characterized by xTalk
Traces are modified in shape and amplitude
Energy effects: peak shifts and resolution
Position and time identification ?
-tracking needs energies but also positions and time information corrected by any type of xTalk !
Roberto Venturelli
INFN Padova,
ITIS “G.Marconi”-Verona
AGATA week, Uppsala, July 8-11, 2008
Does xTalk influence PSA ?
Some experimental observations
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 2
These effects were observed and corrected for the first time with the MARS detector
(R. Venturelli et al. LNL Annual Report 2003)
and deeply investigated by
Bart Bruyneel in the last years
Sum of segment Energies vs fold
Segment sum energies projected on fold
2folds : Core and Segment sum centroids vs hitpattern
…All possible 2fold combinations
Energy [keV]
Energy effects due to xTalk
Notes: For the last part of my talk, I would like to draw the attention to a problem common to any segmented detector : namely cross talk.
This creates strong energy shifts in the segment sum energy, and this proportional to the hit multiplicity:
Doubles are shifted compared to singles. Three folds even more, and so on. >>
If one analyzes the doubles, one observes that it does not simply consists of a single peak, but:
By sorting the two folds into all possible twofold combinations, one observes that the centroids of these peaks are individually shifting according to a regular patten.
The same happens in the core,however there is no such offset observed as is in the segments.
There is thus real physics behind this phenomenon.
>>

## Slide 3
CC (-)
overflow
NET (+)
overflow
Evident xTalk on traces in the detection of a cosmic ray event
IN GENERAL A SIMPLE CONSIDERATION
Negative signals PULL DOWN trace amplitudes (i.e.CC influence)
Positive signals PULL UP trace amplitudes
by factors proportional to the capacitive coupling between segments
CC pull down amplitudes
Net charge signal pull up amplitudes (2nd order)

## Slide 4
Trace amplitudes due to xTalk
Due to the RAMO theorem without xTalk correction
 (Segments traces) = - CC trace
MGS calculation signals are produced under this hypothesis
- CC trace
 (Segments traces)
Amplitude differences of the order of 6-7%
Experimental event
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 5
Two recipes
Calculated
CC
Calculated & corrected
 (Segments traces)
Calculate the basis of signals for PSA with a theoretical model that include xTalk
(Bart Bruyneel idea)
PSA (measured,calculated & corrected)
Correct the measured signals by the xTalk effect
PSA (measured & corrected,calculated)
measured
 (Segments traces)
measured & corrected
 (Segments traces)
measured
CC
measured
CC
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 6
Trace amplitudes correction
sampleC iTime
of the segment iSegm
we are correcting
Every sample of the traces needs to be corrected by xTalk
This can be done using a matrix of xTalk coefficients that represents the capacitive coupling between segments
Matrix of xTalk coefficients is obtained doing an energy analysis of photopeak events at fold 1
Correction formula:
sampleC[iSegm][iTime] =  xTalkCoeff[iSegm][kSegm]*sample[kSegm][iTime]
kSegm

## Slide 7
Traces: two components
fast-short component  PSA  X,t: position and time
slow-long component  MWD  E: energy
xTalk coefficients are extracted doing an energy analysis on the slow-long component but used to correct the entire trace

measured
 (Segments traces)
measured & corrected
 (Segments traces)
measured
CC
measured
CC
| fast-short | slow-long | | fast-short | slow-long |
Measured event at small radius
PSA
PSA
good xTalk correction for the slow-long component
not always good for the fast-short component
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 8
Traces: two components
fast-short component  PSA  X,t: position and time
slow-long component  MWD  E: energy
xTalk coefficients is extracted doing an energy analysis on the slow-long component but used to correct the entire trace

PSA
PSA
|fast-short| slow-long | |fast-short| slow-long |
Measured event at high radius
measured
 (Segments traces)
measured & corrected
 (Segments traces)
measured
CC
measured
CC
good xTalk correction for the slow-long component
not always good for the fast-short component
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 9
xTalk on PSA
A partial test with bidimensional collimated data
measured with the “scanning table” setup at LNL
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 10
first 5 segments of the pencil beam in order to reduce the background
Exponential distribution in the z-axis
GATE on first 5 segments crossed by gamma beam
Points at boundaries of segments excluded from basis
Mseg =1
1 mm
Log color scale
xTalk on PSA
662 keV of 137Cs
x-axis
y-axis

## Slide 11
-
-
137Cs 662 keV | XFWHM(mm)* | YFWHM(mm)*
Without xTalk correction | 4.8 | 4.5
With xTalk correction | 4.5 | 4.4
xTalk on PSA: results
Comparison between PSA analysis without and with xTalk correction
*The FWHM are not corrected for the finite width of the collimated beam
PSA setup
Base 1mm
No electronic response
Full grid search
no time adjustment
Net charge and
neighbors segments
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 12
-
-
137Cs 662 keV | XFWHM(mm)* | YFWHM(mm)*
Without xTalk correction | 4.2 | 4.2
With xTalk correction | 4.0 | 4.0
*The FWHM are not corrected for the finite width of the collimated beam
PSA setup
Base 1mm
No electronic response
Full grid search
no time adjustment
All segments and CC
xTalk on PSA: results
Comparison between PSA analysis without and with xTalk correction
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 13
-
-
137Cs 662 keV | XFWHM(mm)* | YFWHM(mm)*
Without xTalk correction | 4.3 | 4.2
With xTalk correction | 4.3 | 3.8
*The FWHM are not corrected for the finite width of the collimated beam
PSA setup
Base 1mm
No electronic response
Binary search
time adjustment allowed
Net charge and
neighbors segments
xTalk on PSA: results
Comparison between PSA analysis without and with xTalk correction
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …

## Slide 14
-
-
137Cs 662 keV | XFWHM(mm)* | YFWHM(mm)*
Without xTalk correction | 4.2 | 4.4
With xTalk correction | 3.5 | 3.5
*The FWHM are not corrected for the finite width of the collimated beam
PSA setup
Base 1mm
No electronic response
Binary search
time adjustment allowed
All segments and CC
xTalk on PSA: results
Comparison between PSA analysis without and with xTalk correction
Notes: In this presentation I will talk about the status and tests of the mars prototype detector following this scheme:
A description of the detector;
the tests carried out on the two prototypes;
the dedicated data acquisition system based on digital scopes;
the measurements that we have done with the detector and
In conclusion a preliminary result on the in beam measurement
… Let me start with the description of the detector …