## Slide 1: Characterisation & PSA Team Meeting
Presentations
  Liverpool Status, Andy Boston/Matt Dimmock (Liverpool)
  Crosstalk properties of AGATA detectors, Bart Bruyneel (IKP Cologne)
  Analysis of S003 scan data, Bart Bruyneel (IKP Cologne)
  Implementation of T0 calculation with RS, Fabio Crespi (INFN Milano)
  Imaging with two sources and how to determine position resolution, Dino Bazzacco (INFN Padova)
  Simple test experiments to adjust PSA algorithms, Roman Gernhauser (TUM Munich)

## Slide 2: Characterisation & PSA Session 12 (Thursday PM)
Presentations (Characterisation)
  Introduction, Andy Boston
  Singles and Coincidence scan of c001, Carl Unsworth (Liverpool)
  Status of the Orsay scanning system utilising the TIGRESS cards, Ha Thi Mai Hoa (CSNSM Orsay)
  A novel technique for the characterisation of a HPGe detector position resolution based on pulse shape comparison, Fabio Crespi (INFN Milano)
  The Strasbourg scanning system, Francois Didierjean (IPHC Strasbourg)

## Slide 3: Characterisation & PSA Session 12 (Thursday PM)
Presentations (PSA)
  Improved signal basis and tests with extensive grid search, Michael Schlarb (TUM Munich)
  NARVAL implementation of a PSA framework and a NARVAL emulation for code development, Joa Ljungvall (CEA Saclay)
  Analysis of Legnaro data using the NARVAL implementation of the Grid Search algorithm, Daniele Mengoli (INFN Padova)

## Slide 4: Liverpool Status
Feb 08: Asymmetric detector c001
March 08: Test and repair c001
April 08: Resolution and x-talk measurements
May 08: Configure scanning system
June – July 08: Scan c001
Late July – mid August: Scanning Lab closed
Mid August – September 08: Scan c001

## Slide 5: Internal Fix on c001

## Slide 6: Liverpool Status
Feb 08: Asymmetric detector c001
March 08: Test and repair c001
April 08: Resolution and x-talk measurements
May 08: Configure scanning system
June – July 08: Scan c001
Late July – mid August: Scanning Lab closed
Mid August – September 08: Scan c001

## Slide 7: Asymmetric scan plan
137Cs Singles front face & side scan
Coincidence scan - front
241Am front face & side scan
  Detector alignment
  Location of segment boundaries
  Diff x-talk
Flood measurement with 60Co

## Slide 8: Brief update since last time
M. Dimmock – PhD thesis is available
Existing GRT cards – last measurement
Commissioning GRETINA digitiser system
Few slides to indicate findings
  C001 scan … in progress
  Comparison of MGS/Experiment s002
  Differential Crosstalk s002

## Slide 9: C001 singles intensity@662keV

## Slide 10: Core Risetimes (T30)
More details tomorrow …. C. Unsworth
Notes: <number>

## Slide 11: MGS/Experiment Comparison s002

## Slide 12: Derivative Crosstalk s002

## Slide 13: Derivative Cross Talk

## Slide 14: Derivative Crosstalk

## Slide 15: Derivative Crosstalk

## Slide 16: Characterisation & PSA Team Meeting
Presentations
  Liverpool Status, Andy Boston/Matt Dimmock (Liverpool)
  Crosstalk properties of AGATA detectors, Bart Bruyneel (IKP Cologne)
  Analysis of S003 scan data, Bart Bruyneel (IKP Cologne)
  Implementation of T0 calculation with RS, Fabio Crespi (INFN Milano)
  Imaging with two sources and how to determine position resolution, Dino Bazzacco (INFN Padova)
  Simple test experiments to adjust PSA algorithms, Roman Gernhauser (TUM Munich)