## Slide 1
High Resolution γ-ray Spectroscopy in Exotic Nuclei: AGATA@GANIL
GRC - 2019
Nuclear Chemistry
Gordon Research Conference

## Slide 2
High-resolution gamma-ray spectroscopy is an optimum tool to study detailed nuclear structure properties and investigate how they emerge from fundamental interactions.
p-n pairing
Shell evolution
far from stability
Isospin symmetry
breaking
Coupling to the continuum
Super heavy elements
Three-body forces
clusterization
Nuclear Astrophysics
Nuclear shapes
and coexistence
Measuring discrete g-ray transitions from 20 keV to 20 MeV with 1‰ energy resolution and 30-40% P/T

## Slide 3: The AGATA project
180 (60 triple-clusters) 36-fold segmented crystals
Amount of germanium: 362 kg
Solid angle coverage: 82 %
Singles rate >50 kHz
Efficiency: 43% (Mγ=1) , 28% (M γ =30)
Peak/Total: 58% (M γ =1), 49% (M γ =30)
Angular Resolution: ~1º
Combination of:
segmented detector
pulse-shape analysis
tracking the g rays
digital electronics
AGATA@GANIL
S. Akkoyun, et al, NIMA 669, 26-58 (2012)
41 detectors on-line in 2019
The project timeline is to complete the 4p by 2030

## Slide 4
Compton Suppressed
W ~ 40% eph~ 10%
~ 80%
eph~ 40%
solid angle taken by the AC shields
large opening angle  poor energy resolution
Tracking array
Large solid angle
Position sensitive mode using PSA
Large P/T using tracking for g-ray reconstruction
Primarily design to maximize Efficiency and P/T of the high resolution g-ray detector arrays
Maximizing the active solid angle without loosing signal/noise ratio
Improving the Energy resolution on all experimental conditions, even at high emission velocities
Maximizing the performance of the detectors, even in conditions of heavy duty with radiation damage
Tracking Arrays

## Slide 5
v × T1/2
D.Ralet et al. PRC 95 (2017) 034320
Energy centroid shift %
MC simulations
C. Domingo-Pardo et al, NIMA 694 (2012) 297
New “DSAM-like” technique based on the position sensitivity and the Doppler correction.
Possible to measure down to 1 to 10 ps lifetimes with relativistic RIBs.
b=0.5
In-Flight Geometrical Line-Shape
Improved Doppler Correction capabilities
Tracking Arrays

## Slide 6
Ch. Stahl et al, PRC 92 (2015) 044324
The continuous-angle DSAM represents an advancement of the ‘‘conventional’’ DSAM.
It extends the γ-ray lineshapes analysis as a function of γ -ray energy to a lineshape analysis as a function of both γ-ray energy and polar angle of the γ-ray detection.
Ch. Stahl et al, CPC 214 (2017) 174
Firstly used with the AGATA –Demonstrator at LNL
2D-data fitted with
2D fit-function
136Xe
Coulex
Continuous-Angle DSAM

## Slide 7
Experiments performed in 2015-2019 at GANIL with AGATA
Shape transition in the neutron-rich W isotopes
Lifetime measurements of excited states in neutron-rich C and O isotopes
Octupole correlation in 207Pb
48Ca
132Sn
68Ni
78Ni
100Sn
208Pb
Evolution of the shell structure in the region of neutron-rich Ti isotopes
Evolution of collectivity around N=40: lifetime measurements in 73,75Ga
i13/2 single particle state in 133Sn and high spin in 108Zr
The lifetime of the 7.786 MeV state in 23Mg as a probe for classical novae models
Exploration of alpha-cluster : the unique case of 212Po (208Pb + α)
Transition Quadrupole Moments in 166,168Dy.
Shape evolution in neutron rich fission fragments in the mass A~100 region *
Evolution of collectivity around N=40: lifetime measurements in 64Fe
Evolution of collectivity around N=52: lifetime measurements in 83,84Ge
Shell evolution around N=50: 81Ga spectroscopy
Evolution of collectivity around N=50: lifetime measurements 104,106Sn
Evolution of collectivity around N=50: lifetime measurements 94Ru
Studies of excited states in 102,103Sn
Search for isoscalar pairing in the N=Z nucleus 88Ru
Isospin Symmetry Breaking in the A=63,71 mirror nuclei
Octupole – Quadrupole correlation in 112Xe
Reaction mechanism : Fission of Light Hg
Search for Double Gamma decay in 137Cs source
Resonant states in 15F
23 experiments
31 weeks of beam on target
0.44 Po of data
Exotic nuclei populated by heavy-ions collisions at the Coulomb barrier
S. Ansari’s poster
ANSARI
See R. M. Pérez-Vidal’s Poster

## Slide 8
Phase transition from predominant collective structures in 58Fe to a neutron subshell closure towards 52Ca
Staggering of the B(E2) values in the Ti isotopes
Subshell closure at N=32?
K.-H. Speidel et al. Phys. Lett. B 633, 219 (2006).
Subshell closure at N=32 for higher spins in Ti
What are the consequences for the evolution in neighboring nuclei ?
How Shell Model calculations reproduce these systematics ?
New B(E2) measurement in 2+, 4+, 6+ states from their lifetime
A. Goldkuhle (IKP) et al, in preparation

## Slide 9
Reaction: Multi-nucleon transfer reaction
  Target: @ 1,2mg/cm² with backing
  Degrader: @ 3,1 mg/cm²
A. Goldkuhle (IKP) et al, in preparation

## Slide 10
Shell model calculations reproduce the trend in 50,52,54Ti
New result in 52Ti: Opposite behavior to previous experimental results
Experimental results
4 lifetime information in 54Ti: 3 for the first time
3 lifetime information in 52Ti: opposite behavior to previous measurement
5 preliminary lifetime information in 53Ti determined for the first time
Interpretation
A. Goldkuhle (IKP) et al, in preparation

## Slide 11
M. Siciliano (LNL) et al, submitted to PRL
The first 4+2+ transition strength in the neutron-deficient Sn.
The precise measurement for 108Sn sheds light on the proton excitation into the g9/2 and h11/2 (from CN un-truncated), or g9/2 + pairing effect (Z)
The recent MCSMC points to g9/2 occupancy that vary with J and A, [T. Togashi et al PRL 121, 062501 (2018).], without comparison for the 4+ strength
Lifetime Measurements in 106,108Sn using MNT

## Slide 12
Shell evolution and collectivity using a 100Sn core
Maximum of 2+ and 4+ excitation energies at N=82
Maximum of collectivity at mid-shell
Collectivity approaching N=50 ?
M. Sandzelius et al Phys. Rev. Lett 99, 022501 (2007)
d5/2, g7/2, h11/2
d5/2, g7/2, h11/2
BE2(2+  0+) [Wu]
106,108Sn
Lifetime measurement in 112Xe

## Slide 13
2+
1n2p
2n2p
2n2p-2+ gated
4+
5-
6+
8+
9-
7-
3- ?
e+e-
near-line
M. L. Jurado, D. Ralet, A. Goasduf, EC et al,
OUPS Plunger, J. Ljungvall et al, NIM A 679 (2012) 61-66. Degrader mode
s~100 mb
Transitions for which a decay curve was observed on-line
J.F. Smith et al, Phys. Lett. B 523, 13 (2001)
58Ni(58Ni, 2p2n)112Xe @ 250 MeV, ~4pnA.
Lifetime measurement using NEDA-AGATA-DIAMANT and the OUPS plunger in front of DIAMANT
9 plunger distances from 20 mm to 1.5 mm.
10 days experiments with ~30h per distances

## Slide 14
Sn
Xe
20 um /380 um
2+ transition gated by the fast 4+ decay component for 2 distances
Neutron Number
E(2+)
BE2(2+  0+) [Wu]
M. L. Jurado (IFIC), et al, under analysis
112Xe from fusion
106,108Sn from MNT
Based on
Delion et al, Phys. Rev. C 82, 024307 (2010) and
Caurier et al PRC 82, 064304 (2010),
it supports more the role of the quadrupole interaction related to proton excitation from the Z=50 shell closure instead of the role of the T=0 pairing

## Slide 15
~44 ps
~15 ps
~7 ps
Online T1/2
The Lifetime of the 5- is determined
The E3 decay from the 5- seems very weak and requires a careful analysis
B(E1 5-  4+ )* ~ 1.3 10-5 e²fm² (~0.9 10-5 wu)
*Assuming 100% E1 decay as soon as, on-line, the E2 and E3 are obviously very weak
Low B(E1). Similar to 3- E1 decay in 114Xe. E1 probe for octupoles ?
Carrefull analysis to be done to discover the E2/E1/E3 branching ratio to get the B(E3)
(G. De Angelis et al., Physics Letters B 535 (2002) 93–102)
The 114Xe case
M. L. Jurado (IFIC), et al, under analysis
Enhanced octupole correlation due to the interaction of ΔL=3, ΔJ=3, inverse parity : d5/2 and h11/2

## Slide 16
Lifetime measurement in the non-yrast excited states of neutron rich C and O isotopes. Branching ratio and E2/M1 using the PARIS LaBr3 array
Lifetime in n-rich O and C
M. Ciemala , S. Leoni, B. Fornal, et al.,
C. R. Hoffmanu et al .PRC 85, 054318 (2012)
The 2+2 state corresponds to a neutron (d5/2)3(s1/2)1 configuration
198Pt/Tl(18O, 16,18C, 20O)
T. Otsuka PRL 105, 032501 (2010)
n(d5/2)4
n(d5/2)3 (s1/2)1

## Slide 17
EXOGAM-VAMOS (simulated)
2+22+1
M. Ciemala (ifj-PAN)et al , to be submitted to PRL
The MBPT predicts that the lifetime is dominated by the B(M1) dipole strength

## Slide 18
Nucleons transfer spectroscopy using the SPIRAL1 ISOL beams
Nuclear Astrophysics: spectroscopic factors of relevant resonances for nucleosynthesis studies in radiative capture reactions: (6Li,d), (3He,d), (d,p)
Shell evolution:
spectroscopic factors, s.p. energies (d,p), (t,p), (3He,n)
n-p pairing, clusterization
MUGAST campaign 2019-2020
First successful SPIRAL1 exp in April : “Resonant state in 15F” **
** See François De Oliveira’s presentation on Wednesday morning

## Slide 19
Conclusions
The AGATA array is operated since 2014 at GANIL and will be transferred in summer 2021 to LNL – Legnaro
AGATA at GANIL is used to performed high resolution g-ray spectroscopy in exotic nuclei produced in heavy-ions collision at the Coulomb barrier
Unpublished results in 52,54Ti, 106,108Sn, 112Xe, 20O have been presented with a specific focus on lifetime measurements
The new lifetime measurements result for states with J>21+ are :
    New values for 52Ti presenting now bell shape compatible with SM
    New B(E2) up to the 6+ state in 54Ti at the N=32 shell closure
    High precision measurements in 108Sn underline the role of proton excitation above Z=50
    New reduced transition probabilities in 112Xe
    New indication that the 3-body term of the nuclear interaction plays a major role in the structure of n-rich Oxygen isotopes
First successful SPIRAL1-MUGAST experiment performed in April

## Slide 21
867 keV:: 152Eu= 7.7(2)%. 870 keV 17O = 7.8%. Geant4 = ~8%
MUGAST campaign 2019-2020
First successful SPIRAL1 exp (e744) in April : “Resonant state in 15F”
16O(d,p)17O commissionning

## Slide 22
Double Gamma decay
Can decay as a cascade of two gamma (P ∞ 2 10-6 ) with a dominant M2-E2 and a minor E3-M1 contribution
C. Walz et al., Nature volume 526, pages 406–409 (2015)
The main point is to discriminate the real double gamma event candidates on top of the “background” of the Compton scattering.
“Tracking” should be able to reconstruct the Compton scattering and leave only candidate for the double events … Proof of principle ?
< 0.007% of events
30-31 May 2018 : 49h of Continues Data
After Tracking – OFT Std
Prompt Track1+Track2 =
661 ± 1.5 keV, nbTrack=2
Compton Angle (Track1,Track2)
Vs Diff (ETrack1, ETrack2)
Compton not reconstructed
Remain to be understood in details
137Cs
D. Brugnara, A. Goasduff, JJ Vailente-Dobon et al.

## Slide 23: 81Ga – Three valence protons coupled to N = 50 neutron-core excitations
J. Dudouet et al., Submitted to Phys. Rev. Lett
The quenching of the N=50 gap towards 78Ni can be investigated looking at the Spectroscopy of excited states involving particle-hole excitations across the N=50 gap
PFSDG-U interaction F. Nowacki PRL117, 272501
n Shell Gap
Notes: Exp from binding energies

## Slide 24: 81Ga – Three valence protons coupled to N = 50 neutron-core excitations
J. Dudouet et al., Submitted to Phys. Rev. Lett
PFSDG-U interaction F. Nowacki PRL117, 272501

## Slide 25
85Br
80Zn
Z=28
100Sn
99In
98Cd
97Ag
96Pd
95Rh
94Ru
93Tc
92Mo
91Nb
90Zr
89Y
88Sr
87Rb
86Kr
84Se
83As
82Ge
81Ga
79Cu
78Ni
77Ni
76Ni
75Ni
74Ni
73Ni
72Ni
71Ni
70Ni
69Ni
68Ni
67Ni
66Ni
65Ni
64Ni
63Ni
62Ni
61Ni
60Ni
59Ni
58Ni
57Ni
56Ni
g9/2 Shell: seniority might be not conserved
Valence Mirror Symmetry Partners
Journal of Physics 2011, P. Van Isacker.
Shell Model orbitals for valence along N=50 are the same as for valence along Z=28
Same nuclear structures for Valence Mirror Symmetry Partners (?)
Indeed similar 2+ and 4+ excitation energy towards 100Sn and 78Ni
Effective two-body interaction is very different along g9/2 near 100Sn and around 78Ni
Suggested in 94Ru and 96Pd 4+ have 𝝊=2 character and 72,74Ni have 𝝊=4 character
Seniority conservation breaking occurs via the mixing of 𝝊=2 and 𝝊=4 and might be possible for j=9/2
A.F. Lisetskiy et al., Eur. Phys. J. A 25, s01, 95 (2005)
A.F. Lisetskiy et al,. Phys. Rev.C 70, 044314 (2004).
P. Van Isacker Int. Jour. of Mod. Phys. E, Vol . 20, 191 (2011)
P. Van Isacker et al., Phys. Rev. Lett. 100, 052501 (2008)
Investigation of the Seniority Conservation in the pg9/2 shell
Notes: E2 decay between yrast states of the (9/2) 4 system as expected in the N = 50 isotones
(left) and the Z = 28 nickel isotopes (right). The numbers between the levels denote calculated
+B(E2) values expressed in units of B(E2; 2 +1 → 0 1 ) of the two-particle system, assuming a
seniority-conserving interaction. All levels have v ≈ 2, except the J π = 4 + and 6 + states in
72,74 Ni which have exact v = 4.

## Slide 26
[1]
[3]
[2]
[4]
[3][5]
[1]
[3]
[2]
[4]
[3]
[1] A.F. Lisetskiy et al. PRC 2004
[2] A. Gargano Private communication
[3]H. Mach et al. PRC 2017
[4]R.M. Pérez-Vidal et al. This work
[5]NNDC
[6] T. Marchi et al PRL 2014
[7] K. Kolos et al PRL 2016
[8] C.J. Chiara et al PRC 2015
[9] A.I. Morales et al. PRL 2018
[10] M. Sawicka et al PRC 2003
[11] A.I. Morales et al. PRC 2016
𝝊=0,2
𝝊=2
𝝊=2
𝝊=2
𝝊=0,2
𝝊=4?
𝝊=4?
𝝊=2
Z=28
N=50
[1]
[3]
[4]
[1][3]
[1]
[3]
[1][3]
[1]
[6][7]
[1]
[7]
[1]
[8][9]
[1]
[5][10][11]
2+→0+
4+→2+
6+→4+
8+→6+
Valence Mirror Symmetry Partners
Seniority is well preserved in the N=50 isotones along the (pg9/2)n excitations
R.Perez-Vidal, A.Gadea, C.Domingo-Pardo (IFIC) et al, in preparation
Investigation of the Seniority Conservation in the pg9/2 shell

## Slide 27
courtesy of R. Perez Vidal
Shell evolution around 100Sn

## Slide 28
D. Ralet, E. Clément et al, submitted to PLB
D. Ralet et al., Phys.Scr. 92, 054004 (2017)
Case of the 207Pb : 1 neutron hole in 208Pb
The first excited states of 207Pb are part of the np-1 1/2 X 3- multiplet with slightly reduced B(E3) with respect to 208Pb due to the p1/2 blocking effect
The n(i13/2)-1 state band structure : strong coupling effect of the i13/2 and f7/2 : enhanced B(E3) with respect to 208Pb
Evidence of octupole-phonon at high spin in 207Pb : Study of the octupole phonon in the 208Pb region.

## Slide 29
52Ti summed spectrum

## Slide 30
Feeding correction
Flight comp.
Degrader comp.
52Ti

## Slide 31
Differential decay curve method (DDCM)
Flight comp.
Degrader comp.
Feeding correction
54Ti
A. Goldkuhle (IKP) et al, in preparation

## Slide 32
54Ti
 | Lifetime [ps] |  | B(E2) [e² | 
 | Present | Previous [1] | Present | Previous [1]
 | 1.4(7) | 1.53(27) |  | 
 | 5.9(9) | - |  | -
 |  | - |  | -
 |  | - | 5.7 | -
 | Lifetime [ps] |  |  | 
 | Present | Previous [1] | Present | Previous [1]
 | 1.4(7) | 1.53(27) |  | 
 | 5.9(9) | - |  | -
 |  | - |  | -
 |  | - |  | -
 | Lifetime [ps] |  | B(E2) [e²] | 
 | Present | Previous [2] | Present | Previous [2]
 | 10.1(4) | 5.19(20) |  | 
 | 2.3(1) | 4.76(58) |  | 
 | 45(1) | 36.07(577) |  | 
 | Lifetime [ps] |  |  | 
 | Present | Previous [2] | Present | Previous [2]
 | 10.1(4) | 5.19(20) |  | 
 | 2.3(1) | 4.76(58) |  | 
 | 45(1) | 36.07(577) |  | 
52Ti
[2] K.-H. Speidel et al. Phys. Lett. B 633, 219 (2006).
[1] D.-C. Dinca et al., Phys. Rev. C 71, 041302 (2005).
A. Goldkuhle (IKP) et al, in preparation

## Slide 33
nh11/2 occupancy
[M. P. Metlay Phys. Rev. C 52, 1801 (1995)]
Collective octupole motion in such nuclei is strongly influenced by quadrupole softness

## Slide 34
G. de Angelis et al., Phys. Lett. B 535 (2002) 93
J.F. Smith et al., Phys. Lett. B 523 (2001) 13.
114Xe : B(E3:3-  0+) = 77(27) W.u

## Slide 35
Exp
Non –yrast states in 20O
Neutron transfer reaction by C. R. Hoffman et al .PRC 85, 054318 (2012)
has shown that :
n(d5/2)3 (s1/2)1
n(d5/2)3 (s1/2)1
n(d5/2)4
Scal (d5/2, s1/2,d3/2)
(1.8,0,0)
(0.8,0.3,0.2)
(1.0,0.,0.)
(0.2,0.7,0.0)
Theoretical S factors from SM calculations are in good agreement with the measured ones
Yrast 2+ and 4+ states are dominated by the natural n(d5/2)4 configuration
The 2+2 and 3+ states are dominated by the n(d5/2)3(s1/2)1configuration

## Slide 36
Exp
USDB
n(d5/2)4
n(d5/2)4
n(d5/2)3 (s1/2)1
n(d5/2)4
tNN = 320 fs
tNNN = 200 fs
Abinitio
G. Hagen et al., PRL 108, 242501 (2012)
tNN = 10.5 ps
tNNN = 11.7 ps
SM :M. Rejmund, Private
communication USDB, A. Brown et al PRC, 74(3), 034315 (2006).
t=12 ps
d3/2 lowered by 2 MeV
t=11 ps
t=180 fs
d3/2 lowered by 2 MeV
t=240 fs
t=27 fs
Non –yrast states in 20O
t=10.4(4) ps
The 2+1 lifetime is not sensitive to the d3/2 position
The 2+2 and 3+ states lifetimes are sensitive to the d3/2 contribution
Placed phenomenological in SM calculations
the 3-body interaction create repulsion in the ab-initio model
A reduced splitting of the s1/2d3/2,5/2 increases the lifetime
As an increased repulsion between the orbits reduces the lifetime
The lifetime of the 2+2 state is a sensitive probe for the s1/2d3/2,5/2 decomposition in neutron-rich O

## Slide 37
Populating the relevant neutron states by the selective 19O(d,p)20O reaction
19O beam from SPIRAL1 at 6.6 MeV/ and at 7. 104 pps
DSAM dedicated target CD2 (0.3mg/cm²) + Au (20mg/cm²)
20O to be identified in VAMOS and g-ray in AGATA placed at backward angles
The entry point is constrained by the proton spectroscopy in MUGAST
Lifetime measurement of the 2+2 and 3+ state, feeding free, by DSAM
Cross section from C. R. Hoffman et al .PRC 85, 054318 (2012)
400 (1000) counts respectively in the 2+2 (3+) decay to the 2+1 state in 30 UT
Make the best use of the present setup
Response function studied using the GEANT4 AGATA package
Risk is the quality of the target preparation and its thickness measurement
Proposed experiment
We do not probe directly the 3-body term (because it is impossible)
We do not directly measure the relative position of the s1/2 – d3/2,5/2
But we measure an accurate and relevant quantity (T1/2) which is sensitive to their relative spacing independently if it is the consequence of the 3-body term or a phenomenological approach
Within an ab-initio framework it can be related to the 3-body contribution
Within the SM approach, it can be related to the position of the single particle orbit

## Slide 38
N=Z
protons
neutrons
Due to the optimum Q-value condition with stable beams mostly p-stripping and n-pick-up occur in MNT processes populates n-rich nuclei.
R.Broda et al., PRC 49, R575
With p-rich beam and target possible to populate p-rich ejectiles with
= few to ~1mb
in +2p pick-up reactions
Shell evolution around 100Sn

## Slide 39
ESSA30
30 Detec. at Daresbury - 1987
Large arrays for g-ray spectroscopy in Europe by European collaborations
Euroball 100. Detec.
90’-2000
 Composite detector to increase the photopeak efficiency
Eurogam
40-50 Detec.
90’
Segmentation of detectors
Improve granularity (reduce Doppler broadening)
20-40 Detec.
2000-
+ Digital electronic
Strong collaboration with industry

## Slide 40
Lifetime measurements
FATIMA-PARIS detectors coupled to AGATA
2015-2017: 93% of performed experiments are lifetime measurements from fs to ms
E. Clément et al., NIMA 855, 1-12 (2017)
Y. H. Kim et al., Eur.Phys.J. A 53, 162 (2017)
The GANIL Campaign [2015-2021]

## Slide 41
Interplay of the monopole terms of the interaction with multipole terms, like pairing and quadrupole, which determines the different phenomena we observe
Lifetimes of the 4+ states in 62;64Fe and the 11/2- in 61;63Co and 59Mn
Shell evolution below 68Ni
M. Klintefjord et al., PRC 95, 024312 (2017)
Collecting spectroscopic data like transition probability constraining the theoretical description of the Island of inversion from N=28 to N=40 :
What is the influence of the ng9/2 and nd5/2 orbits ?
What is the influence of the proton excitations across Z=28 ?
How collectivity change when decreasing the number of proton in the f7/2 orbital

## Slide 42
Enhanced octupole due to the interaction of ΔL=3, ΔJ=3, inverse parity : d5/2 and h11/2
112Ba should corresponds to the best octupole N=Z=56 for p and n
d5/2, g7/2, h11/2
d5/2, g7/2, h11/2
Removing neutron from the h11/2 orbital gradually decreases the 3- excitation energy and enhances the B(E3) value
3- states dominate by d5/2 × h11/2 orbital configuration

## Slide 43
 | 114Xe | 112Xe | 118Ba
E (3-)theo (MeV) / Exp | 1.84 /1.62 | 1.99/1.65 | 2.11
B(E3: 3-  0+)theo W.u. | 17 | 25 | 18.7
B(E3: 3-  0+)exp W.u. | 77(27) | - | -
The h11/2-d5/2 octupole in 146Gd for protons is 37 W.u. reproduced by the same GCM HFB calculations
Factor 4.5
L.M. Robledo private communication
The large B(E3) might be due to the presence of an isoscalar the proton-neutron
π(ν) d5/2 - ν (π) h11/2 term
112Xe : B(E3) = ?
Quadrupole-octupole coupling is a key contribution
 Reproduces the Ra-Rn octupole transition strength
L.M. Robledo and P.A. Butler, PRC 88 051302 (R) (2013)
Q2-Q3 does not change the B(E3)
Should increase toward N=Z

## Slide 44
Shell evolution around proton shell closure
Interplay of the monopole terms of the interaction with multipole terms, like pairing and quadrupole, which determines the different phenomena we observe
Characterizing the islands of inversion, formed near the magic numbers.
Collectivity development with valence particle
These are new regions of deformation with configurations involving intruder orbitals from the above main shell.
While a signature of collective properties is given by the energy of the first excited states, their lifetimes allow a better understanding of their properties by comparison with LSSM calculations

## Slide 45
The cyclotrons will continue to deliver stable, high intensity beams from 12C to 238U 4-3 months/year
SPIRAL1 has delivered post-accelerated RIB after an important upgrade
The start of the full LINAC accelerator commissioning with RF on July
First experiment using the neutron beam around summer 2020
The S3 spectrometer assembly has started in the cave. First Cryo-modules delivered, final cooling expected for 2021
The DESIR hall construction contract signed
GANIL Facilities

## Slide 46
Courtesy J. Dudouet
Nucleons transfer
Fusion-fission
Transfer-fission
The GANIL Campaign [2015-2021]
E. Clément et al., NIMA 855, 1-12 (2017)
Y. H. Kim et al., Eur.Phys.J. A 53, 162 (2017)
2015-2017 run VAMOS campaign
« States above the 2+ are well populated »

## Slide 47
Energy
PSA
p
a
DIAMANT and NEDA in full digital system making use of the NUMEXO2 boards and coupled to AGATA with the AGATA GTS system
Time of flight
PSA – Neural network
n
g
54 self produced NEDA detectors at forward angles and 14 NWALL detectors + plunger
~9% g-efficiency at 1.4 MeV after tracking
>20% efficiency for 1 neutron
>35% efficiency for 1 proton
2018 run NEDA campaign
The GANIL Campaign [2015-2021]
E. Clément et al., NIMA 855, 1-12 (2017)
J. J. Valiente-Dobon et al, NIMA 927, 81-86 (2019)
×20 increase in (ng²) event rate readout compared to the NWALL-DIAMANT-EXOGAM system in VME-VXI.
T. Huyuk et al, Eur. Phys. J. A (2016) 52: 55 Page 5

## Slide 48
0+
2+
T1/2
Velocity
d
Improved Doppler Correction capabilities
Lifetime measurements are revisited
Separation of both peaks for a larger solid angle even for small Dv  Combined with spectrometer and low recoil energy
Use of thinner degrader for shorter lifetime
Tracking Arrays