## Slide 1
AGATA@GANIL
Status report
AGATA week 2019

## Slide 2
2015-2017
VAMOS Campaign
24-35 capsules
2018
NEDA/DIAMANT
Campaign
35 capsules
2019-2020
MUGAST Campaign
41-44 capsules
2021
?? Campaign
~ 44 capsules
AGATA campaigns@GANIL

## Slide 3
The GANIL Campaign organization
The AGATA campaign at GANIL has been extend to 2017, 2018, 2020, 2021.
5th PAC in November 2018: call for MUGAST-AGATA-VAMOS experiments only
    5 MUGAST-AGATA-VAMOS experiments proposed
    2 experiments approved (E. Clément/A. Goasduff & A. Gottardo/M. Assié)
899 UT have been already approved spanned on 33 experiments
709 UT have been spanned on 25 experiments
Backlog is
3 NEDA (+ DIAMANT, PARIS, FATIMA) 66 UT
4 VAMOS 92 UT
1 MUGAST 32 UT
2020 beam time should be ~3 months; starting first week of February
6th PAC 17-18 October 2019: call for MUGAST-AGATA-VAMOS experiments only
    3 MUGAST-AGATA-VAMOS experiments only proposed due to Spiral1 beam test canceled: 24Ne(6Li,d), 26Al(d,p) and 47K(d,p)
The 7th and LAST PAC in 2020 for the 2021 beam time is to be defined

## Slide 4
2019 Technical achievements
Operation
*We ran 25 experiments since 2015
    *In-beam data since 2014, the campaign is approved until 2021 (8 years operation )
    *Detectors maintained cold since October 2014
    *41 Detectors took data in 2019 in unstable conditions**
Upgrades
* DCOD upgrade with trigger soft, on-line event builder and AGASPY watchers
* 7 new GGP channels were installed and put in operation from the 2nd production batch, 5 more are installed in the last workstation delivery batch. 24 ATCA** channels + 23 GGP channels are delivered at GANIL
* Delivery of the last batch of workstation for the next GGP production
*Several maintenance and re-ordering in the DAQ-box
*Migration of the Muscade client to Java OpenJDK for the Autofill
*Continus upgrades of the data-analysis tool (femul upgrade, Cubix, AGATASPY, GRID …)
*All the hardware is delivered at GANIL for the 1p
AGATA@GANIL
41 detectors on-line in 2019

## Slide 5
Chart: 
| 0 | 30 | 38 | 68 | 76 | 94 | 113 | 119 | 130 | 310 | 335 | 425 | 456 | 486 | 532 | 541 | 566 | 578 | 603 | 627 | 661 | 961 | 996 | 1015 | 1061 | 1095 | 1395 | 1415 | 1431 | 1456 | 1487 | 1530 | 1550 | 1564 | 1594 | 1594 | 1852 | 1869 | 1901 | 1931 | 1949 | 1979 | 2279 | 2297 | 2321 | 2360
 | 4.1 | 8.6 | 8.6 | 11.6 | 16 | 25 | 25 | 30 | 30 | 44 | 44 | 59 | 59 | 80 | 80 | 93 | 93 | 103 | 103 | 128 | 128 | 145 | 160 | 195 | 224 | 224 | 236 | 257 | 263.7 | 287.7 | 302.7 | 302.7 | 308.3 | 312.2 | 312.2 | 312.2 | 346.2 | 367.2 | 392.2 | 404.2 | 430.2 | 430.2 | 434.3 | 455.3 | 478.3
Cumulative [TB]
2017
*Without Traces
** Commissionning
2018*
2016
2015
2014**
2019
0.5 PB !!

## Slide 6
Relatively easy GTS and DAQ coupling between AGATA-VAMOS-MUGAST
EXOGAM2 TP is not 100% reliable at > 25kHz/core due to non-ordered request from GGP’s.
The 2019 run was performed in TriggerLess
Aging of the V0 electronic (several digitizers with sever problems and first ATCA carrier off)
2/3 of the experiments performed with the CEPH spear
GTS instabilities during the 2nd experiment (12h lifetime) solved after a complete disassembly of the GTS Tree
More and more detectors are requesting a refill before the 6h period
2019 Technical Problems Summary

## Slide 7
The MUGAST–AGATA-VAMOS setup
MUGAST
AGATA
BTD
VAMOS
Spiral1
radioactive
beams

## Slide 8
Commissioning / E744 efficiencies : 37 capsules
AGATA is approached by 51 mm for the MUGAST campaign
Efficiencies @ 1.4 MeV
AddBack 6.3(1)%
Tracked 5.5(1)%
According to G4 with adjusted crystal relative efficiencies
No loss at low energy was measured due to MUGAST

## Slide 9
AddBack efficiencies
867 keV:: 152Eu= 7.7(2)%.
870 keV 17O = 7.8%.
Geant4 = 7.5%
MUGAST commissioning
16O(d,p)17O commissioning
AGATA in full trigger less
 In-beam efficiencies

## Slide 10
MUGAST campaign 2019
UNBOUND STATES
Above barrier narrow resonances in 15F
14O(p,p’) inelastic scattering
- Search for new negative parity states
Type of two-proton decay
Gamma transition within unbound nucleus (extremely rare)
I. Stefan (IPN), F. de Oliveira (GANIL)
 Expected g-rays not seen (would have been a real discovery)
fs scale sensitivity
Eu energies calibration calibrate well the 6.1 MeV line of 16O

## Slide 11
MUGAST campaign 2019
46
47
48
K masses isotopes in coincidence with particle at backward angle
s1/2 state
d5/2 state
SHELL MODEL
Is there a problem with protons in N=28 nucleus 46Ar ?
46Ar(3He,d)47K to probe proton WF and study vacancies in s1/2 and d3/2 shells.
3He cryogenic target !
A. Gottardo INFN, M. Assié IPN
Cubix®

## Slide 12
MUGAST campaign 2019
NUCLEAR ASTROPHY.
Determining the α+15O radiative capture rate
15O(7Li,t)19Ne indirect measure
Important reaction for breakout from Hot-CNO cycle to rp-process in Type I X-ray bursts
C. Diget (York), N De Séréville (IPN)
AGATA spectrum in triple coincidence with MUGAST and 19Ne
Expected transition not seen
It is a result, ie that the Csa is small
Cubix®

## Slide 13
Recent Publication from past campaigns

## Slide 14
Sudden rise of collectivity after the N=50 shell closure
… in contradiction with shell model calculation
C. Delafosse et al., Phys.Rev.Lett. 121, 192502 (2018)
The quenching of the N=50 gap towards
78Ni can be investigated looking at the
Spectroscopy of excited states involving particle-hole excitations across the N=50 gap
J. Dudouet et al, Phys.Rev. C 100, 011301 (2019)
First lifetime of excited states measured in 88Kr
Lifetime measured with better accuracy in 86Se
First lifetime measured in the very exotic 84Ge
Unexpected enhancement of collectivity in 84Ge
81Ga spectroscopy

## Slide 15
Effects of one valence proton on seniority and angular momentum of neutrons in neutron-rich 122–131Sb isotopes
LSSM calculations in the 132Sn vicinity constrained by combined prompt-spectroscopy, isomer spectroscopy and related B(E2) in Sb isotopes
Modifications of several components
of the shell-model interaction were introduced to obtain a consistent agreement in neutron-rich Sn and Sb isotopes
S. Biswas et al. Phys. Rev. C 99, 064302 (2019)
131Sb

## Slide 16
D. Ralet et al Physics Letters B 797 (2019) 134797
Shell evolution around 208Pb
Study of the two-phonon vibrational states in the 208Pb region
Case of the 207Pb n(i13/2)-1 state band structure
Evidence of octupole-phonons at high spin in 207Pb
The measured reduced transition probability is compatible with a contribution from the two-to-one-octupole-phonon E3 transition.
Further information on the double-octupole-phonon state can be obtained by a more precise lifetime measurement of the 19/2−state in 207Pb
B(E3) = 40(8) W.u

## Slide 17
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
LNL | 0 | 0 | 1 | 4 | 7 | 16 | 20 | 25 | 29 | 29 | 0
GSI | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 4
GANIL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 8
Up-to-date 1st of September 2019
Cumulative number of publications (Technical excluded)
#Years after the first experiment
 On good track

## Slide 18
Conclusion
AGATA is operated since 2014 at GANIL and 25 experiments have been performed
The number of detectors is approaching the 1p
In 2019, we observed a clear aging of the electronic and detectors
Successful start of the MUGAST-VAMOS-AGATA campaign in 2019 to be continued in 2020
Many results are coming all along the nuclear chart for many different physics topics
Publications are important for GANIL and AGATA
Many thanks to all AGATA collaborators !